Tijuana River (TJR) National Estuarine Research Reserve Meteorological Metadata

January - December 2008

Latest Update:  December 19, 2012

I. Data Set & Research Descriptors

1) Principal investigator(s) & contact persons

Jeff Crooks, Research Coordinator		301 Caspian Way

Imperial Beach, CA 91932

Phone: (619) 575-3613

Fax: (619) 575-6913

E-mail: jcrooks@tijuanaestuary.org

Michelle Cordrey, Research Specialist	301 Caspian Way

Imperial Beach, CA 91932

Phone: (619) 575-3613 x322

Fax: (619) 575-6913

E-mail: mcordrey@tijuanaestuary.org

2) Entry verification

Data are uploaded from the CR1000 datalogger to a Personal Computer (IBM compatible).  Files are exported from PC208W or LoggerNet in a comma-delimited format and uploaded to the CDMO where they undergo automated primary QAQC and become part of the CDMO’s online provisional database.  During primary QAQC, data are flagged if they are missing or out of sensor range.  The edited file is then returned to the Reserve where it is opened in Microsoft Excel and processed using the CDMO’s NERRQAQC Excel macro.  The macro inserts station codes, creates metadata worksheets for flagged data, and graphs the data for review.  It allows the user to apply QAQC flags and codes to the data, append files, and export the resulting data file to the CDMO for tertiary QAQC and assimilation into the CDMO’s authoritative online database.  For more information on QAQC flags and QAQC codes, see Sections 11 and 12.

Michelle Cordrey is responsible for meteorological data management.

3) Research objectives (Campbell Weather Station):

The principal objective is to record long-term and episodic meteorological data for the Tijuana Estuary in order to observe any environmental changes or trends over time. Data are also used as corollary information in ongoing biologic, hydrologic and geographic studies being conducted at the reserve.

4) Research Methods

A model cr1000 Campbell Scientific datalogger samples meteorological sensors every 5 seconds. At 15 minute intervals, averages or instantaneous readings are taken, depending upon sensor type, and written to a storage table on the cr1000.

The 15 minute Data are collected in the following formats for the CR1000:

Averages from 5-second data:

Air Temperature (°C), Relative Humidity (%), Barometric Pressure (mb), Wind Speed (m/s), Wind Direction (degrees), and Battery Voltage (volts) based on averages from 5-second data.

Maximum Air Temperature (°C), Minimum Air Temperature (°C), and their times from 5-second data.  (these are not included in the data, but are available from the WEL NERR).

Maximum Wind Speed (m/s) and its time from 5-second data.

Wind Direction Standard Deviation (degrees) from 5-second data (began collecting as a standard parameter at TJR on 10/1/2008).

Precipitation (mm), Cumulative Precipitation (mm) (began collecting as a standard parameter at TJR on 6/23/2008), and Photosynthetic Active Radiation (PAR; millimoles/m2) based on totals of 5-second data.

Monthly, sensors on the weather station are inspected for damage or debris.  If any is found, it is repaired and/or cleaned.   Sensors are removed and sent back to Campbell Scientific for calibration at minimum of every two years.  There were no other analyses done on the meteorological data at present.

Campbell Scientific data telemetry equipment was installed at the Tidal Linkage station on 06/12/2006 and transmits data to the NOAA GOES satellite, NESDIS ID #3B01468A.  The transmissions are scheduled hourly and contain four (4) data sets reflecting fifteen minute data sampling intervals.  Upon receipt by the CDMO, the data undergoes the same automated primary QAQC process detailed in Section 2 above.  The “real-time” telemetry data become part of the provisional dataset until undergoing secondary and tertiary QAQC and assimilation in the CDMO’s authoritative online database.  Provisional and authoritative data are available at http://cdmo.baruch.sc.edu.

5) Site location and character:

The Tijuana River NERR is located on the Southern Pacific Coast, next to the California border with Mexico at a latitude of 32 deg. 34 min. N and Longitude of 117 deg. 07 min. W.  The area surrounding the 2,531 acre reserve is heavily developed by residential housing as is the watershed which drains into the estuary.  Approximately 2/3 of the watershed is in Mexico and is subject to periodic raw sewage outflows.  The North Eastern section of is bordered by a military helicopter training base.  Vegetation in the area is dominated by common pickleweed (Spartina virginica) and Pacific cordgrass (Spartina foliosa).

Description of the specific sampling station:

The weather station is located approximately 30m west of the TR NERR Visitor Center at a Latitude of 32deg 34min 28.32sec N and a Longitude of 117deg 07min 37.05sec W.  The station is 50m north of the water quality sampling station.  The vegetation surrounding the weather station are mainly upland scrub species.

The anemometer, wind direction and Licor sensors are located at the top of a 3.5 meter aluminum tower.  The temperature and humidity sensors are located midway up (1.75m) and on the west side of the tower. The barometric pressure sensor is mounted in the CR1000 enclosure at a height of 1.5m. The Tipping Bucket rain gauge sits on a separate 2 meter high pole located approx. a meter to the west of the main tower. It is above the ground to limit interference from the security fence surrounding the weather station.  The sensors were wired to the cr1000 following the protocol in the CDMO Manual.

6) Data collection Period

Data was collected for all parameters at the station from 1/1/2008 00:00 and continued through 12/31/2008 23:45.

7) Distribution

NOAA/ERD retains the right to analyze, synthesize and publish summaries of the NERRS System-wide Monitoring Program data.  The PI retains the right to be fully credited for having collected and processed the data.  Following academic courtesy standards, the PI and NERR site where the data were collected will be contacted and fully acknowledged in any subsequent publications in which any part of the data are used.  Manuscripts resulting from this NOAA/OCRM supported research that are produced for publication in open literature, including refereed scientific journals, will acknowledge that the research was conducted under an award from the Estuarine Reserves Division, Office of Ocean and Coastal Resource Management, National Ocean Service, National Oceanic and Atmospheric Administration.  The data set enclosed within this package/transmission is only as good as the quality assurance and quality control procedures outlined by the enclosed metadata reporting statement.  The user bears all responsibility for its subsequent use/misuse in any further analyses or comparisons.  The Federal government does not assume liability to the Recipient or third persons, nor will the Federal government reimburse or indemnify the Recipient for its liability due to any losses resulting in any way from the use of this data.

NERR weather data and metadata can be obtained from the Research Coordinator at the individual NERR site (please see Principal investigators and contact persons), from the Data Manager at the Centralized Data Management Office (please see personnel directory under the general information link on the CDMO home page) and online at the CDMO home page http://cdmo.baruch.sc.edu/.  Data are available in comma separated format.

8) Associated researchers and projects

The Tijuana River NERR has a water quality station located at the Tidal Linkage.  The principal objective of this study is to record long-term water quality data for the Tijuana Estuary in order to observe any physical changes or trends in water quality both spatially and over time.  Additionally, NERR SWMP tier 1 nutrient monitoring is being conducted at the Tidal Linkage station. Dr. Eric Terrell at Scripps Institute of Oceanography has been utilizing the meteorological data as ancillary data for a met station they have located on the Imperial Beach pier.

II.  Physical Structure Descriptors

9) Sensor specifications

Parameter: LI-COR Quantum Sensor

Units: mmoles m-2 (total flux)

Sensor type: High stability silicon photovoltaic detector (blue enhanced)

Model#: LI190SA

Serial#: Q9301

Light spectrum waveband:  400 to 700 nm

Temperature dependence: 0.15% per °C maximum

Stability:  <±2% change over 1 yr

Operating Temperature:  -40°C to 65°C; Humidity: 0 to 100%

Sensitivity:  typically 5 µA per 1000 µmoles s-1 m-2

Multiplier: 1.314

Date of last calibration:  September 11, 2003

Dates in service: 1/1/2008 – 12/16/2008

Parameter: LI-COR Quantum Sensor

Units: mmoles m-2 (total flux)

Sensor type: High stability silicon photovoltaic detector (blue enhanced)

Model#: LI190sz

Serial#: Q33685

Light spectrum waveband:  400 to 700 nm

Temperature dependence: 0.15% per °C maximum

Stability:  <±2% change over 1 yr

Operating Temperature:  -40°C to 65°C; Humidity: 0 to 100%

Sensitivity:  typically 5 µA per 1000 µmoles s-1 m-2

Multiplier: 0.8032

Date of last calibration:  December 3, 2008

Dates in service: 12/16/2008 – 12/31/2008

Parameter: Wind speed

Units: meter per second (m/s)

Sensor type: 18 cm diameter 4-blade helicoids propeller molded of polypropylene

Model#: R.M. Young 05103-5 Wind Monitor

Range:  0-60 m/s (130 mph); gust survival 100 m/s (220 mph)

Accuracy: +/- 2%

Date of last calibration:  September 03, 2003

Dates in service: 1/1/2008 – 12/31/2008

Parameter: Wind direction

Units: degrees

Sensor type: balanced vane, 38 cm turning radius

Model#: R.M. Young 05103-5 Wind Monitor

Range:  360° mechanical, 355° electrical (5° open)

Accuracy: +/- 5%

Date of last calibration:  September 03, 2003

Dates in service: 1/1/2008 – 12/31/2008

Parameter: Temperature and Relative Humidity

Model#:  HMP45AC

Serial#:  Y4410095

Operating Temperature:  -40 to +60°C

Temperature Measurement Range: -40 to +60°C

Temperature Accuracy: ± 0.2 °C (20°C)

Relative Humidity Measurement Range:  0-100% non-condensing

RH Accuracy:  +/-2% RH (0-90%) and +/-3%(90-100%)

Date of last calibration:  October 28, 2003

Dates in service: 1/1/2008 – 12/31/2008

Parameter: Barometric Pressure

Model#: PTB101B

Serial#: P4830024

Operating Temperature:  -40 to +60C

Pressure Measurement Range:	600-1060 mb

Humidity:  non-condensing

Accuracy: ±0.5 to 6.0 mb (+20-60C)

Stability: ± 0.1 mb per year

Date of Last calibration: October 4, 2005

Dates in service: 01/01/2008 – 12/31/2008

Parameter: Precipitation

Units: millimeters (mm)

Sensor type: Tipping Bucket Rain Gauge

Model#:  TE525

Rainfall per tip: 0.01 inch

Operating range: Temperature: 0° to +/- 50°C; Humidity: 0 to 100%

Accuracy:  +/- 1.0% up to 1 in./hr; +0, -3% from 1 to 2 in./hr; +0, -5% from 2 to 3 in./hr

Date of last calibration: August 2, 2007

Dates in service: 01/01/2008 – 6/6/2008

Parameter: Precipitation

Units: millimeters (mm)

Sensor type: Tipping Bucket Rain Gauge

Model#:  onset RG2

Rainfall per tip: 0.01 inch

Operating range: Temperature: 0° to +/- 50°C; Humidity: 0 to 100%

Accuracy:  +/- 1.0% up to 1 in./hr; +0, -3% from 1 to 2 in./hr; +0, -5% from 2 to 3 in./hr

Date of last calibration: August 6, 2008

Dates in service: 06/06/2008 – 12/31/2008

Datalogger:   Model: CR1000

Specs:   The CR1000 has two MB Flash EEPROM that is used to store the Operating System. Another 128 K Flash is used to store configuration settings. A minimum of 2 MB SRAM is (4 MB optional) is available for program storage (16K), operating system use, and data storage. Additional storage is available by using a compact flash card in the optional CFM100 Compact Flash Module.

Dates in service: 7/12/2006 – present

10) Coded variable definitions

Sampling station:		Sampling site code:	Station code:

Tidal Linkage		TL				tjrtlmet

11) QAQC flag definitions

QAQC flags provide documentation of the data and are applied to individual data points by insertion into the parameter’s associated flag column (header preceded by an F_).   During primary automated QAQC (performed by the CDMO), -5, -4, and -2 flags are applied automatically to indicate data that is above or below sensor range or missing.  All remaining data are then flagged 0, as “good”.   During secondary and tertiary QAQC 1, -3, and 5 flags may be used to note data as suspect, rejected due to QAQC, or corrected.

-5	Outside High Sensor Range

-4	Outside Low Sensor Range

-3	Data Rejected due to QAQC

-2	Missing Data

-1	Optional SWMP supported parameter

0	Passed Initial QAQC Checks

1	Suspect Data

2 	Open - reserved for later flag

3	Open - reserved for later flag

4	Historical Data:  Pre-Auto QAQC

5	Corrected Data

12) QAQC code definitions

QAQC codes are used in conjunction with QAQC flags to provide further documentation of the data and are also applied by insertion into the associated flag column.  There are three (3) different code categories, general, sensor, and comment.  General errors document general problems with the deployment or the CR1000, sensor errors are sensor specific, and comment codes are used to further document conditions or a problem with the data.  Only one general or sensor error and one comment code can be applied to a particular data point.

General Errors

GIM Instrument Malfunction

GIT Instrument Recording Error, Recovered Telemetry Data

GMC No Instrument Deployed due to Maintenance/Calibration

GMT Instrument Maintenance

GPD Power Down

GPF Power Failure / Low Battery

GPR Program Reload

GQR Data Rejected Due to QA/QC Checks

GSM See Metadata

Sensor Errors

SIC Incorrect Calibration Constant, Multiplier or Offset

SNV Negative Value

SOC Out of Calibration

SSN Not a Number / Unknown Value

SSM Sensor Malfunction

SSR Sensor Removed

Comments

CAF Acceptable Calibration/Accuracy Error of Sensor

CDF Data Appear to Fit Conditions

CRE Significant Rain Event

CSM See Metadata

CVT Possible Vandalism/Tampering

13) Other remarks / notes

Data are missing due to equipment or associated specific sensors not being deployed, equipment failure, time of maintenance or calibration of equipment, or repair/replacement of a sampling station platform.  Any NANs in the dataset stand for “not a number” and are the result of low power, disconnected wires, or out of range readings.  If additional information on missing data is needed, contact the Research Coordinator at the reserve submitting the data.

Small negative PAR values are within range of the sensor and are due to normal errors in the sensor and the CR1000 Datalogger. The Maximum signal noise error for the Licor sensor is +/- 2.214 mmoles/m2 over a 15 minute interval.

Relative Humidity data greater than 100 are within range of the sensor accuracy of +/- 3%.

Cumulative precipitation data are recorded from 00:00 to 23:59 with the daily total recorded at the midnight mark (00:00). The midnight CumPrcp value is actually the total from the previous day.

All Reserves were required to align their wind sensors to True North by April 1, 2008.  TJR NERR’s sensor has always been aligned to True North.

On 1/3/2008 at 16:45 TotPrcp data are flagged as <1> CSM, ancillary analog data for that date is missing as is data from nearby stations for that date and time.

ATemp, RH, and wind data are flagged as suspect and coded as SOC (sensor out of calibration) for all of  2008.  The sensors have been installed since 10/28/2003 and have not been calibrated since installation.  All SOC PAR data that would have been considered SOC (9/11/2006 -12/16/2008) are flagged as rejected due to sensor problems and are therefore not flagged as suspect.  Barometric pressure data are considered SOC from 10/24/2008 until the end of the year.  The BP sensor was last calibrated/installed on 10/4/2005.

Beginning on 1/24/2008 and continuing through 1/27/2008, overgrown saltbrush was removed from the vicinity around the station.  Wind readings prior to removal may have been affected due to the height of the vegetation growth.  These data are already flagged as suspect due to an out of calibration sensor.

A new cr1000 program, TJRTLMET_VER5.5_041608.cr, was uploaded to the station on 06/23/2008 at 14:01 so data for the affected 15 minute interval were rejected.

On 9/30/2008 at 03:30 TotPrcp data and on 9/29/2008 03:30-9/30/2008 00:00 CumPrcp data are flagged as <1> CSM. No rain recorded in analog gauge on those dates.

On 12/16/2008 15:08 the PAR sensor was replaced (see section 9 sensor specifications for model and multiplier information) and the data for the affected 15 minute interval was rejected.

Slightly elevated PAR data are flagged as suspect from 12/16/2008 through 12/31/2008.  The exact cause of these elevated nighttime readings is unknown, but it is suspected that moisture might be intruding into the PAR sensors.